**ADDENDUM #2**

ATCAA Food Bank Backup Generator Project RFP | August 17, 2020

The following information is provided to the potential Proposers for the above named RFP and shall become a part thereof pursuant to Section X, Paragraph 5 (Addenda) of the RFP. No consideration will be allowed due to any potential proposer not being aware of or familiar with this addendum.

The proposer must acknowledge receipt of this addendum on its Proposal Form/Bid Form in order for its Proposal to be deemed acceptable. This addendum shall form part of the RFP Solicitation and is to be read, interpreted, and coordinated with all other parts. The following revisions supersede the information contained in the original instructions and specifications issued for the above named project. This Addendum #2 contains 1 page in total.

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

This purpose of this Addendum is to make the following change:

* 1. Change the repair technician response time in the event of a generator failure.

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

ADDENDUM 2.1

Addendum 2.1 modified **Exhibit C** **(Diagrams & Specifications – Warranty)**, of the RFP Solicitation to indicate the repair technician response time in the event of a generator failure, will be within 24 hours of the trouble report. The original response time of the repair technician in the event of a generator failure, was within 1 hour of the trouble report.

The repair technician response time in the event of a generator failure, has now been changed.

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

 ***REMINDER: Acknowledge the receipt of Addendum #2 on the Proposal Form/Bid Form Exhibit B*.**

**END OF ADDENDUM**